SECTIONS MUST BE RE-NUMBERED	WATCH FORMATTING

EDIT ACCORDINGLY			INCLUDE DATE

ADD PAGE NUMBERS	REMOVE DRAFT WATERMARK

PROJECT SUMMARY AND INFORMATION

# PROJECT INFORMATION

1.1.	OPDC Project No. * [this number is issued by OPDC]
* [project title]
* [building/facility]
* [street address]
* [city, state, zip, country if other than USA]

1.2. 	Smithsonian Institution Contacts:
Contracting Officer
Smithsonian Institution
Office of Contracting
600 Maryland Ave., SW Suite 3000E
Washington, DC   20024

Contracting Officer's Technical Representative (COTR)
Smithsonian Institution
Office of Planning, Design, and Construction 
600 Maryland Ave., SW Suite 5001
Washington, DC   20024

# SUMMARY OF WORK

2.1. 	The Contractor shall furnish all supervision, labor, materials and equipment needed to *_____________________________________________________ at the Smithsonian Institution's * ___________________________ located at * (complete address)_________________________________________________, as set forth on the Drawings for OPDC Project No. * ____________, sheets l through * ______ and in these specifications, both dated * ___________________________.

2.2.	The Work includes, but is not limited to:

* __________________________________________

* __________________________________________

* __________________________________________

2.3.	Critical Elements of the Work:  The successful Contractor shall be fully qualified to install critical elements of the Work. Upon request of the Contracting Officer, bidders shall submit a statement of qualifications to address the following critical elements of the Work:

* __________________________________________

* __________________________________________

* __________________________________________

# CONTRACT TIME FOR COMPLETION

3.1. 	Work under this contract shall begin by the Contractor within ten (10) calendar days after the Notice to Proceed and shall be completed within the total contract time of *_______ calendar days. All work, including project closeout activities, shall be completed in every respect within the contract time.

3.2. 	The start date and completion date shall be as stated in the Notice to Proceed issued by the Contracting Officer.

# SCHEDULE OF ALTERNATES FOR *BID/PROPOSAL

4.1. 	The following is a brief Statement of the Work identified for *bid/proposal alternates. The complete description of the Work is identified elsewhere in the drawings and specifications.

BASE *BID/PROPOSAL:

* [insert brief, descriptive paragraph and days to be added if accepted]

ALTERNATE 1:  ADD (or) DEDUCT

* [insert brief, descriptive paragraph and days to be added if accepted]

ALTERNATE 2:  ADD (or) DEDUCT

* [insert brief, descriptive paragraph and days to be added if accepted]

# SCHEDULE OF UNIT PRICES

5.1. 	The unit prices in the following schedule shall be submitted as part of the *bid/ proposal. The Smithsonian reserves the right to accept or reject any or all unit prices.

5.2. 	The Contractor agrees that, in the event that the Contractor is directed by the Smithsonian to increase or decrease the quantities of work required by the contract documents on items listed below, the contract amount shall be adjusted based on the following unit prices.

5.3. 	Unit prices shall include the furnishing of all materials, labor, equipment and services necessary for or incidental to the execution of the work specified.  Unit prices shall include all direct and indirect costs, overhead, taxes, insurance and profit.

5.4. 	These unit prices shall be binding upon the Contractor for the duration of the project.  No escalation or other variation shall be allowed.

5.5. 	If requested by the Smithsonian, the Contractor shall provide material, equipment and personnel to verify or determine changes in quantities. Contractor measurements and calculations shall be subject to verification by the COTR.

5.6.	Schedule of Required Unit Prices

| ITEM | Price ($) | Per Unit |
| --- | --- | --- |

# *BIDDER/OFFEROR EXAMINATION OF SITE

6.1. 	Every effort has been made to indicate all work necessary to complete the project as identified. All *bidders shall carefully examine the premises during the *bid period and satisfy themselves as to the extent, nature and location of the work, general and local conditions, particularly those bearing on transportation, disposal, handling and storage of materials, availability of labor, water, electric power, access routes, uncertainties of the weather, type of equipment and facilities needed for the successful execution of the Work.

6.2. 	Before the *bid opening date, *bidders may view the project site on an appointment basis. Any comments, information or discussion during the site visit shall not modify the contract documents.  *Bidders shall make an appointment to view the site by contacting:

* _________________________________, Title

Telephone No. * (___) _______________

Smithsonian Institution

* (building) ___________________, Room * ________

* (street address)

* (city, state and zip code)

6.3. 	Pre-Bid Conference and Site Visit:  Before the *bid opening date, a scheduled pre-bid conference and site visit will be announced by the Contracting Officer. The purpose of the scheduled meeting is to provide an opportunity for all bidders to review the project site.  Any comments, information or discussion during the site visit shall not modify the contract documents.

6.4.	This project is in a public area and requires no special arrangements to visit the site between the hours of 10:00AM and 5:30PM.

6.5. 	This project requires special arrangements for access to a non-public area. Access to the site may be restricted at times other than during the scheduled visit.

# NON-PUBLIC, TENANT AND SECURED SPACES

7.1. 	Certain tenant spaces, non-public spaces, utility and equipment rooms and other areas related to or used for purposes of storage, conservation, research, curation of museum collection and artifacts or for scientific research may have restricted access.

7.2.	The Contractor shall identify to the COTR as soon as possible, but no less than two (2) working days in advance, any occupied areas that the Contractor must access that are located outside the limits of the project site. The Contractor shall identify in writing:

7.2.1. 	Restricted areas to be accessed.

7.2.2.	Specific reason for needing access.

7.2.3.	Nature of the work to be performed.

7.2.4.	Date(s) and hours needed to complete construction work activity.

# MUSEUM ARTIFACTS AND SCIENTIFIC RESEARCH MATERIALS

8.1. 	The handling of museum artifacts or scientific research experiments by the Contractor is strictly prohibited without written consent of the Smithsonian. The existing museum artifacts and research related materials may be moved only by authorized Smithsonian Museum curatorial personnel. An offender of this clause may be subject to arrest or removal from the premises and project by Smithsonian security officers.

8.2. 	If temporary relocation of artifacts or research experiments is necessary, the Contractor shall give notice to the COTR at least five working days in advance of the time relocation is needed.

8.3. 	Humidity/Temperature Controlled Spaces:  The Contractor shall take care to minimize fluctuations in air conditions and quality, particularly in areas containing artifacts and storage collections and laboratories and scientific research experiments. Humidity and temperature-controlled areas require consistency of utility operation.

# PROTECTION OF HISTORIC PROPERTIES

9.1.	The project site is located in a designated National Historic Landmark property and requires special attention to the quality of materials selected for installation and workmanship efforts to satisfactorily preserve and restore historic elements and finishes of an historic landmark structure.

9.2.	Upon request of the COTR, the Contractor shall submit evidence of technical competence in restoration work for National Historic Landmark structures, including subcontractor resumes, references and photographs or previous similar work.

9.3.  	Without exception, all original building fabric of the * _______________________________  is designated historic.

COMMITMENT TO SUSTAINABILITY

10.1.  	The Smithsonian Institution is a trust instrumentality of the United States and although not an Executive Branch of the U.S. Government, is committed to planning, designing, constructing, maintaining and operating its owned and leased buildings and facilities consistent with Federal environmental and energy management requirements, as listed in the Smithsonian Codes, Standards and Guidelines document, dated October 2021, to the maximum extent practical.

COMMISSIONING

11.1.	The Smithsonian requires Fundamental Commissioning (as defined by the LEED NC and CI rating systems) of all eligible design and construction projects, even if the project is not eligible to pursue LEED certification. The Smithsonian additionally requires Enhanced Commissioning (as defined by the LEED NC and CI rating systems) for larger projects and projects pursuing LEED certification, based on the size and complexity of the project. The Contractor shall coordinate work of different trades, as necessary, with the activities of and the requirements issued by the Smithsonian and the Commissioning Provider, including:

### 11.1.1.	The Commissioning Plan, a resource to identify the strategies, aspects and responsibilities within the commissioning process for each phase of the project, outlining the overall project schedule, organization, responsibilities and documentation requirements of the design process. Refer to specific trade commissioning requirements that may be located in other sections of the technical specifications.

### 11.1.2. 	The Owner’s Project Requirements (OPR), the functional requirements of a project and expectations of the building’s use and operation as they relate to systems to be commissioned. The OPR addresses the owner use and requirements, environmental and sustainability goals, energy efficiency goals, indoor environmental quality requirements, equipment and system expectations, building occupant and operations and maintenance personnel requirements.

11.1.3.	Basis of Design (BOD), which includes a narrative description of the design of any systems to be commissioned and any design assumptions.

CONTRACTOR USE OF PREMISES

# HOURS OF WORK, WORKDAYS AND GOVERNMENT HOLIDAYS

12.1. 	Work shall be performed under this contract during the normal workdays of Monday through Friday, except Smithsonian holidays as specified herein and the normal work hours of 7:00 AM to 3:30 PM

12.2. 	The premises will be continually occupied, requiring the work, under this contract, to be performed during periods other than the building occupants' normal workday and hours.  The normal workdays and hours of the building occupants are Monday through Friday between * _____AM and * _____PM  Therefore, the Contractor shall perform work under this contract during the normal workdays of * ________ through * _______ and the normal work hours of * ____ AM/PM to * ____ AM/PM

12.3. 	For each occasion the Contractor intends to work on Saturdays, Sundays or Smithsonian holidays or during hours other than those indicated above, the Contractor shall obtain written permission from the COTR, at least three (3) working days in advance.

12.4. 	The Contractor shall reimburse the Smithsonian Institution for security and inspection services provided by the Smithsonian when the Contractor chooses to work outside the normal workdays and hours, as identified herein. However, the Contractor will not be charged for SI overtime security and inspection services, if, in the opinion of the COTR, the work cannot be done during the normal workdays and hours due to requirements of the Smithsonian.

12.5. 	 Smithsonian Holidays:  For holidays that fall on Saturday, the Smithsonian holiday is observed on the previous Friday. For holidays that fall on Sunday, the Smithsonian holiday is observed on the following Monday. The Smithsonian holidays are listed below.

New Year's Day					January 1

Martin Luther King Jr.'s Birthday	  		January, third Monday

George Washington's Birthday		  	February, third Monday

Memorial Day					May, last Monday

Juneteenth					June 19

Independence Day				July 4

Labor Day			  		September, first Monday

Columbus Day					October, second Monday

Veterans' Day					November 11

Thanksgiving Day				November, fourth Thursday

Christmas Day					December 25

*President's Inauguration Day		  	January 20, XXXX

# QUALITY ASSURANCE

13.1. 	The Contractor shall provide for quality control, inspections, testing and re-testing as necessary for all work, including that of subcontractors, to assure compliance with the contract documents.

# PERMITS, LICENSES & FEES

14.1. 	The Contractor shall obtain and pay for all applicable permits and licenses required by regulating agencies, including, but not limited to:  permits for pedestrian and road markings, construction fences, sidewalk cuts, utility company connections, elevator certificates, waste containers, etc.

# PROTECTION OF THE SITE

15.1. 	The Contractor shall provide adequate protection for all parts of the building, including interior and exterior surfaces, its occupants and contents and grounds wherever work under this contract is performed.

# DEBRIS CONTROL AND DAILY CLEANUP

16.1. 	The Contractor shall regularly clean up the work areas and shall, at all times, maintain the project in as neat and orderly a manner as is consistent with normal operations. Debris resulting from construction operations shall be removed daily from the site by the Contractor. The Contractor shall keep all access, haul routes and site areas free of dirt, debris and other materials resulting from construction activities.

- 16.2.	The Contractor shall recycle, salvage or otherwise divert from landfills and incinerators, at least 50%, with a goal of at least 75%, by weight (tons), unless otherwise noted, of non-hazardous construction and demolition material.  The contractor shall track recycling efforts and diversion rates using the Construction and Demolition Waste Tracking Sheet, attached.  Before any work is started, the contractor shall submit a Construction Waste Management Plan, consisting of waste identification and a waste reduction work plan. Waste identification shall indicate anticipated types and quantities of demolition, site-clearing, and construction waste generated by the Work.  Include estimated quantities and assumptions for estimates. Waste reduction work plan shall list each type of waste and whether it will be salvaged, recycled, or disposed of in landfill or incinerator. Include points of waste generation, total quantity of each type of waste, quantity for each means of recovery, and handling and transportation procedures.  With each application for payment, the contractor shall submit the Construction and Demolition Waste Tracking Sheet, attached, with data compiled for the payment period, including receipts from hauler or destination.  Before request for substantial completion, the contractor shall submit calculated end-of-Project percentage of waste diverted from landfills and incinerators (recycled, salvaged, or disposed) as a percentage of total waste generated by the Work.  With request for final payment, the contractor shall submit actual percentage of waste diverted from landfills and incinerators (recycled, salvaged, or disposed) as a percentage of total waste generated by the Work.

# STAGING, STORAGE AND WORK AREAS

17.1.	Before any work is started, the Contractor shall coordinate with the COTR regarding the use of area for staging and storage of materials and equipment.

BONDING AND INSURANCE

18.1.	Bonding:

In accordance with IDIQ Contract requirements.

NOTE:  The only acceptable method of bonding for the Smithsonian Institution is (1) Bid bond SF-24; Performance Bond SF-25; and Payment Bond SF-25A (U.S. Department of the Treasury Acceptable Surety); (2) Irrevocable Letter of Credit (issued by a member of the Federal Deposit Insurance Corporation); or (3) Cashier’s Check.

18.2.	Insurance:

In accordance with IDIQ Contract requirements.

SUBMISSIONS

# SUBMITTALS AND REVIEWS

19.1. 	Contractor Responsibility for Submittals:  The Contractor shall provide all required submittals, by technical specification section, in accordance with the contract documents. All submittals, with exception of mockups or samples, are to be submitted electronically by email in PDF format.  The Contractor shall clearly indicate on the submittal that it has been reviewed by the Contractor and found to meet the project requirements. Any items submitted as substitutions shall be clearly identified as such on the submittal and the transmittal document. If shop drawings show variations from the contract documents because of standard shop practices or for other reasons, the Contractor shall provide a separate, written description of variations along with the submittal. The Contractor shall:

19.1.1.	Review each submittal for conformance with requirements of the contract documents and coordination with related work.

19.1.2. 	Determine and verify all field measurements, required material quantities, method of assembly or erection, installation requirements and proper connection to adjoining materials installed by others.

19.1.3. 	Assure that all submittals use the appropriate units of measure. All drawings and technical data shall be in SI (metric) units for projects designed in SI units. Preprinted literature in other units shall be accompanied by documentation to show conformance to project requirements.

19.1.4. 	Transmit all required submittals for a technical specification section at the same time unless prior written waiver of this requirement has been provided by the COTR.

19.1.5. 	Transmit submittals to the COTR in a logical and orderly sequence in accordance with the Submittal Schedule to prevent project delays or adversely impact work by the Smithsonian Institution or other contractors.

19.1.6. 	Correct and resubmit submittals according to response from the Smithsonian.

19.1.7. 	Commence work on items requiring submittals only after all related submittals are reviewed and approved by the Smithsonian. All Work shall conform to approved submittals.

# TOXIC AND HAZARDOUS SUBSTANCES

20.1. 	The Contractor shall submit to the COTR, at least ten (10) working days prior to their intended use, a written list of toxic and hazardous substances that will be used on the project. The Contractor shall submit a "Material Safety Data Sheet" similar to OSHA Form No. 20 for these substances to identify the following information:

20.1.1. 	Product Identification

20.1.2. 	Hazardous Ingredients

20.1.3. 	Physical Data

20.1.4. 	Fire and Explosion Hazard Data

20.1.5. 	Health Hazard Data

20.1.6. 	Emergency and First Aid Procedures

20.1.7. 	Reactivity Data

20.1.8. 	Spill or Leak Procedures

20.1.9. 	Special Protection Information

20.1.10. Special Precautions

20.2. 	The Contractor will commit to not using the following toxic and hazardous materials:

20.2.1. 	Products containing asbestos, urea formaldehyde, polychlorinated

biphenyls (PCBs) and/or chlorinated fluorocarbons.

20.2.2. 	Products containing lead content, including solder or flux containing more

than 0.2% lead; domestic water pipe or pipe fittings containing more than 8% lead;

and paint containing more than 0.06% lead.

20.2.3. 	Chlorofluorocarbon (CFC)-based refrigerants in new base building heating,

ventilating, air conditioning and refrigeration (HVAC&R) systems and

comprehensive CFC phase-outs when reusing existing base building HVAC

equipment.

20.3.4.	The Contractor hereby understands that historic properties may contain pre-existing harmful materials and coatings including, but not limited to, arsenic, lead, dioxide, polyvinylchloride (PVC) and asbestos. Upon discovery of hazardous or toxic materials, the Contractor shall alert the COTR immediately.

# EXISTING FIRE PROTECTION SYSTEMS

21.1. 	During the course of the Work, all existing smoke and heat detectors and sprinkler heads must remain operable. Coverings may be applied to protect them from spray coatings or other hazardous conditions only during the actual operations. Coverings must be removed immediately after the operations have concluded. Damaged detectors and sprinkler heads shall be replaced immediately by the Contractor at no additional cost to the Smithsonian Institution. The Contractor shall test replaced detectors and sprinklers after installation to the satisfaction of the COTR.

# GENERAL SECURITY REQUIREMENTS

22.1.	 The Contractor and his employees must comply with security requirements imposed by the Smithsonian Institution, including any necessary security clearances. Failure to inspect the site or obtain knowledge of security regulations shall not relieve the Contractor from security requirements or from performance of any part of the work.

JOB SITE SAFETY – Project value $100k and above

23.1.	Safety Coordinator:  The Contractor shall designate a person responsible and accountable for personnel safety at both corporate and project level at the project site for the duration of the project. Contracts specifically requiring safety or industrial hygiene personnel shall include a copy of their resumes. Qualifications for the Safety Coordinator shall include the OSHA 30-hour course or equivalent course.

23.2.	Occupational Safety and Health:  This contract is subject to Title 29 of the Code of Federal Regulations, Part 1910 "Occupational Safety and Health Standards" and Part 1926 "Safety and Health Regulations for Construction" pursuant to the Occupational Safety and Health Act (OSHA) of 1970 administered by the US Department of Labor, Occupational Safety and Health Administration.

23.3.	Report of Accident or Illness:  In the event of any accident or illness for which medical assistance is required, any criminal action, or any fire, the Contractor shall notify the appropriate authority (ambulance, police, fire Dept.), Smithsonian Security, and the COTR.

23.4.	Contractor Personnel to be contacted:  The Contractor shall submit a written list of emergency telephone numbers and names of persons to contact for the General Contractor superintendent and for each major sub-contractor working on the project site.  The initial list shall be submitted to the COTR at the Preconstruction Meeting.  The list shall be updated and resubmitted to the COTR as needed.

23.5.	Site Specific Safety Plan:  Upon award of this contract, the contractor shall provide a Site Specific Safety Plan (SSSP).  The SSSP is a safety and health policy and program document and outlines how the contractor will safely conduct their work. This plan shall be job-specific and shall also address any unusual or unique aspects of the project or activity for which it is written.

The SSSP shall interface with the employer’s overall safety and health program, and a copy shall be available on the work site.  Any portions of the employer’s overall safety and health program that is referenced in the SSSP shall be included as appropriate. The plan shall include but not limited to the following:

- Signature Sheet that must include plan concurrence (e.g., Chief of Operations, Corporate Chief of Safety, Corporate Industrial Hygienist, project manager or superintendent, project safety professional, project QC). Provide concurrence of other applicable corporate and project personnel (Contractor).

- Background Information that must include Brief project description, description of work to be performed, and location; phases of work anticipated these will require a Job Hazard Analysis (JHA’s).  OSHA 3071

- Statement of Safety and Health Policy

- Responsibilities and lines of Authority

- Subcontractors and Suppliers

- Training

- Safety and Health inspections that include assignment of responsibilities for a minimum daily/weekly job site safety and health inspection during periods of work activity level of technical proficiency needed to perform the inspections, proof of inspector’s training/ qualifications

- Accident Reporting

- Plans (programs, procedures) required by the Safety Manual. Based on a risk assessment of contracted activities and on mandatory OSHA compliance programs, the Contractor shall address all applicable occupational risks and compliance plans. Using the 29 CFR 1926 and/or current and accepted procedures in the EM 385-1-1 as a guide

# j.    Risk Management Processes Detailed project-specific hazards and controls shall be provided by a Job Hazard Analysis for each major phase/activity of work, including but not limited to work involving confined space, fall protection, trenching/excavation, crane/rigging, steel erection, hot work, protection of the public, scaffolding, and other activities that involve high risk potential.

# SCHEDULING & PAYMENTS / BAR CHART

24.1. 	Project Schedule:  The Contractor shall submit, to the COTR for approval, a Gantt bar chart project schedule within *__ calendar days after the date of contract award. Submit in PDF format.  No work shall start at the site until the project schedule has been approved by the COTR. The approved bar chart will represent a baseline schedule on which the monthly construction progress will be indicated and submitted to the COTR. The baseline project schedule shall comply with the following:

24.1.1. 	Weekly breakdown of work activities shall be provided, including interaction between building trades, subdivided by items of work and areas of the project. Items of work shall be grouped and subdivided according to the divisions of the Construction Specifications Institute (CSI) format.

24.1.2. 	The start date and completion date shall be consistent with the Contract Time established by the Contracting Officer. Any intermediate deadline dates needed to meet specific requirements for Smithsonian use of portions of the work shall be shown.

24.1.3. 	Project condition survey activities shall be scheduled not later than the 14th calendar day of the contract time and prior to the start of any site work.

24.1.4. 	Project closeout activities shall be scheduled for completion in accordance with the requirements for the Contract Time for Completion.

24.1.5. 	Order dates and projected delivery dates shall be shown for equipment, special devices, hardware, products or other items requiring long lead time.

24.1.6. 	Required delivery dates for items to be furnished by Smithsonian and installed by the Contractor shall be shown, as well as items to be furnished and installed by Smithsonian, which will affect the Contractor's work.

24.1.7. 	Review periods for all submittals and time required for all necessary inspection and/or testing shall be shown.

24.1.8. 	Dates shall be given for ordering, delivery, installation and testing of major equipment and special materials and equipment.

24.1.9. 	The Contractor shall specifically identify work activities and dates associated with construction bid alternates.

24.2. 	Revisions to Baseline Schedules:  The Contractor shall submit, to the COTR for approval, all revisions to the approved baseline project schedule. The Contractor shall submit a proposed revision to the schedule, as necessary, along with proposals for construction changes, clearly indicating modifications to the schedule based on the proposal.  The Contractor shall also submit, for review and approval, any proposed changes to the schedule due to inability to accomplish the work as planned for any reason. Approved changes to the schedule shall be incorporated into the Project Schedule and it shall be resubmitted as necessary or as requested by the COTR.

24.3. 	Progress Behind Schedule:  If it becomes apparent to the COTR that the overall progress of the project is behind the approved project schedule, then the COTR will notify the Contractor in writing. The Contractor shall submit, to the COTR for approval, a Recovery Schedule and Plan to describe how the Work will be accelerated to meet the Contract Time requirements in accordance with the General Conditions contract clause entitled "Commencement, Prosecution and Completion of the Work." The Recovery Schedule shall be superimposed on the approved baseline project schedule to demonstrate that proposed recovery activities will accomplish completion of the work by the approved completion date.

24.4. 	Reporting Progress and Applying for Payment:  Each month, the Contractor shall apply for payment and submit a report of the actual construction progress as follows:

24.4.1.	By the 25th of each month, the Contractor and the COTR shall have inspected the work to determine percentages complete for each item, projected through the end of the month. The parties shall attempt to reach agreement on each item, but if they cannot reach an agreement the COTR will determine percent complete.

24.4.2.	By the last day of the month, the Contractor shall submit an Application for Payment based on the determined percentages complete for each item. The application shall be submitted in triplicate on the Smithsonian standard Application for Payment form. Each copy of the Application for Payment shall be accompanied by the following:

1.	A Progress Schedule identifying the cumulative progress superimposed on the latest revision of the approved Project Schedule. The net progress for the month and applicable dates shall be clearly indicated.

2.	A complete set of copies of certified weekly-payroll data for the period.

3. 	A complete set of monthly progress photos. At least 24 color progress photographs shall be provided.  The actual number and location of views shall be directed by the COTR.  Photographs shall be taken at the start and finish of various elements of construction designated by the COTR. Additional photographs showing any work that will be concealed after inspection shall be submitted. Each photograph will be marked with this information box:

Smithsonian Institution

Title: _____________________________________

OFEO Project No.: _______Contract No.: _______

Contractor: _________________________________

Photo No.: _______ Date:_______Time: _______

Description/View: ___________________________

4. 	A completed monthly waste diversion report.

5. 	An update to date change order log.

24.5.	 Response to Application:

24.5.1.		Payment shall be made only for progress agreed upon by the COTR, performed on original Contract Work or approved modifications, in accordance with the current, approved Project Schedule. Failure to submit the Application in accordance with the specifications will prevent the processing of payments.

24.5.2.		Payments shall be mailed to the Contractor's address as identified in the contract documents on record with the Contracting Officer. Any changes of address or requests for wire transfer of progress payments must be made in writing, signed by the Contractor's authorized person and submitted to the Contracting Officer.

Warranty of Construction

25.1.       The Contractor shall warrant that the work performed under this contract conforms to the contract requirements and is free of any defect in equipment, materials, design furnishes, or workmanship performed by the Contractor or any subcontractor or supplier at any tier. Unless otherwise stated in the technical sections of the Specifications, the warranty of the Work shall continue for a period of one (1) year from the date of Final Completion status. If Smithsonian takes partial occupancy before Final Completion, then the warranty for that portion shall be in effect for a period of one (1) year beginning on the date of Substantial Completion for that portion of the Work.

25.2.	Submission of original warranties for all products, equipment and systems:

The Contractor shall assemble original warranty certificates or notarized copies of warranty

certificates executed by the Contractor, subcontractors, suppliers and manufacturers in a

tab-indexed three-ring loose-leaf binder with a durable plastic cover. The table of contents

shall identify the item covered, the location of the item, the date of Substantial Completion,

expiration date of the warranty and the supplier, vendor and installing contractor. Duplicate

notarized copies of warranties shall be provided as required by "Manuals for Operation,

Maintenance and As-Built Product Data."  Include electronic copy in PDF format, on CD.

As-Built Record Drawings

26.1.	During the progress of the work, the Contractor shall maintain a complete and up-to-date set of record prints, open to inspection by the COTR at any time. These prints shall provide a complete and accurate as-built record of all changes to the Contract Drawings, including rerouting of runs, relocation of items or control points and all other modifications.  The exact location of pipes, conduit or other features concealed underground, under concrete, in chases or above ceilings shall be shown by perpendicular dimensions from at least two available landmarks. As-built drawings shall be neatly marked with colored pencils or ink, marked "As-Built" and signed and dated by the Contractor. Upon completion of the Work and before final payment, the Contractor shall submit, to the COTR as-built record drawings in digital format via file transfer or a COTR approved storage medium. The Contractor shall submit electronic files in .DWG and PDF formats.

26.2.	As-Built Record Survey of Underground Utilities submitted. If outside or underground utilities are part of the work, the Contractor shall furnish, to the COTR for approval, an acceptable and accurately dimensioned survey showing location and elevation of underground storage tanks, all utility lines for water, gas, electrical, sewer, steam, etc., including valves, connections and changes in direction, as installed under the contract, within the property lines and outside the building walls. Points where utility lines emerge from the building shall be located from lot monuments. The survey shall be made to scale and must be marked "As-Built" and signed and dated by the Contractor. The Contractor shall furnish as scanned, digital copy to the COTR.

26.3.	As-Built Record Specifications submitted. The Contractor shall submit and a digital (scanned) set of project specifications with annotations to identify any changes made during construction, referencing modification numbers, dates and originators of authorizing letters or memos and other sources of changes. The cover shall be marked "As-Built" and signed and dated by the COTR.

Construction and Demolition Waste Tracking Sheet:

To be submitted with each application for payment for the payment period, and at project completion with total waste data and total percentage of waste diverted from landfill for entire project period.

Project Name:

Start Date:

End Date:

| Material Description | Disposal date | Diverted from Landfill or incinerator? (Y/N) | Diversion method (Recycled, Salvaged, etc.) | Hauler or Destination (submit receipts) | Volume (in cubic feet) | Weight (in tons) |
| --- | --- | --- | --- | --- | --- | --- |
| Land Clearing Debris |  |  |  |  |  |  |
| Gypsum Wallboard Scrap |  |  |  |  |  |  |
| Cardboard |  |  |  |  |  |  |
| Paper goods |  |  |  |  |  |  |
| Beverage containers |  |  |  |  |  |  |
| Assorted Plastic |  |  |  |  |  |  |
| Wood Pallets |  |  |  |  |  |  |
| Asphaltic Concrete Paving |  |  |  |  |  |  |
| Concrete |  |  |  |  |  |  |
| Brick |  |  |  |  |  |  |
| CMU |  |  |  |  |  |  |
| Lumber |  |  |  |  |  |  |
| Plywood and OSB |  |  |  |  |  |  |
| Wood Paneling |  |  |  |  |  |  |
| Wood Trim |  |  |  |  |  |  |
| Miscellaneous Metals |  |  |  |  |  |  |
| Structural Steel |  |  |  |  |  |  |
| Rough Hardware |  |  |  |  |  |  |
| Insulation |  |  |  |  |  |  |
| Roofing |  |  |  |  |  |  |
| Doors and Frames |  |  |  |  |  |  |
| Door Hardware |  |  |  |  |  |  |
| Windows |  |  |  |  |  |  |
| Non-Window Glass |  |  |  |  |  |  |
| Glazing |  |  |  |  |  |  |
| Acoustical Tile |  |  |  |  |  |  |
| Carpet |  |  |  |  |  |  |
| Carpet Pad |  |  |  |  |  |  |
| Demountable Partitions |  |  |  |  |  |  |
| Equipment |  |  |  |  |  |  |
| Cabinets |  |  |  |  |  |  |
| Plumbing Fixtures |  |  |  |  |  |  |
| Piping |  |  |  |  |  |  |
| Piping Supports and Hangers |  |  |  |  |  |  |
| Valves |  |  |  |  |  |  |
| Sprinklers |  |  |  |  |  |  |
| Mechanical Equipment |  |  |  |  |  |  |
| Electrical Conduit |  |  |  |  |  |  |
| Copper Wiring |  |  |  |  |  |  |
| Light Fixtures |  |  |  |  |  |  |
| Lamps |  |  |  |  |  |  |
| Lighting Ballasts |  |  |  |  |  |  |
| Electrical Devices |  |  |  |  |  |  |
| Switchgear and Panelboards |  |  |  |  |  |  |
| Transformers |  |  |  |  |  |  |
| Other: |  |  |  |  |  |  |
| Other: |  |  |  |  |  |  |
| Other: |  |  |  |  |  |  |
| Total Diverted |  |  |  |  |  |  |
| Total Not Diverted |  |  |  |  |  |  |
| Total All Waste = Total Diverted + Total Not Diverted |  |  |  |  |  |  |
| % Diversion Rate* = Total Diverted/Total All Waste |  |  |  |  |  |  |

*Percentage Diversion Rate to be compiled after project completion.  Minimum Diversion rate is 50%.  Goal Diversion rate is 75%